## Cover Page
Report To | Chris Herc, Grand Council Treaty #3 |  |  | Date Received | 22-Jun-2023 11:25
| P.O Box 1720 |  |  | Issue Date | 28-Jun-2023 16:50
|  |  |  | Amendment | 0
| Kenora, ON P9N3X7, Canada |  |  | Version | FINAL
Client Phone | 506-653-0807
Certificate of Analysis
|  | Lab Work Order # | TY2305891
Project PO #
Project
Legal Site Description
C of C Numbers
Comments
Where possible, ALS will store samples for the following durations, measured from date of sample submission: 30 days for Soil and Water samples; 6 months for Tissue/Biota samples; 14 days for air samples collected on re-usable media; and 3 days for water samples submitted for microbiological testing. Longer storage times are available upon request. Holding times are displayed as "---" if no guidance exists from CCME, Canadian provinces, or broadly recognized international references. Temperature is recorded in °C unless otherwise noted. Lab received an empty routine bottle, anion tests, PO4 and dissolved PO4 tests can not be done, proceeding with tests as per bottle received. Type of submission is not indicated on the chain of custody, proceeding with not regulated, not drinking water.
Temperature | 19.8
Signatories
This document has been electronically signed by the authorized signatories below. Electronic signing is conducted in accordance with US FDA 21 CFR Part 11.
Signatories |  | Position | Laboratory Department
Cassandra Grzelewski |  | Team Leader - Inorganics | Microbiology, Thunder Bay, Ontario
Shannon Veltri |  | Supervisor - Water Chemistry | Metals, Thunder Bay, Ontario
Walt Kippenhuck |  | Supervisor - Inorganic | Metals, Waterloo, Ontario
Walt Kippenhuck |  | Supervisor - Inorganic | Inorganics, Waterloo, Ontario
Ghanil Moradiya |  | Laboratory Assistant | Administration, Thunder Bay, Ontario
Shannon Veltri |  | Supervisor - Water Chemistry | Inorganics, Thunder Bay, Ontario
Cassandra Grzelewski |  | Team Leader - Inorganics | Metals, Thunder Bay, Ontario
[This report shall not be reproduced except in full without the written authority of the Laboratory.]

## Sample Summary
Sample Summary TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
Sample Details
ALS Sample ID | Client Sample ID | Matrix | Sub-Matrix | Date Sampled | Time Sampled
TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | 21-Jun-2023 | 11:00

## Results Summary
Results Summary TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
Client Sample ID |  |  | Dryden Govt. Dock DGD-01
Date Sampled |  |  | 21-Jun-2023
Time Sampled |  |  | 11:00
ALS Sample ID |  |  | TY2305891-001
Analyte | Lowest Detection Limit | Units | Sub-Matrix: Water
Field Tests (Matrix: Water)
Temperature, field | 0.10 | °C | 22.4
pH, field | 0.10 | pH units | 8.08
Physical Tests (Matrix: Water)
Hardness (as CaCO3), from total Ca/Mg | 0.50 | mg/L | 43.7
Anions and Nutrients (Matrix: Water)
Ammonia, total (as N) | 0.0050 | mg/L | 0.0090
Ammonia, un-ionized (as N), field | 0.0010 | mg/L | <0.0010
Kjeldahl nitrogen, total [TKN] | 0.050 | mg/L | 0.485
Phosphorus, total dissolved | 0.0030 | mg/L | 0.0068
Microbiological Tests (Matrix: Water)
Coliforms, total | 1 | MPN/100mL | 308
Coliforms, Escherichia coli [E. coli] | 1 | MPN/100mL | 105
Total Metals (Matrix: Water)
Aluminum, total | 0.0030 | mg/L | 0.303
Antimony, total | 0.00010 | mg/L | <0.00010
Arsenic, total | 0.00010 | mg/L | 0.00048
Barium, total | 0.00010 | mg/L | 0.00857
Beryllium, total | 0.000020 | mg/L | <0.000020
Bismuth, total | 0.000050 | mg/L | <0.000050
Boron, total | 0.010 | mg/L | <0.010
Cadmium, total | 0.0000050 | mg/L | <0.0000050
Calcium, total | 0.050 | mg/L | 13.2
Cesium, total | 0.000010 | mg/L | 0.000022
Chromium, total | 0.00050 | mg/L | 0.00106
Cobalt, total | 0.00010 | mg/L | 0.00010
Copper, total | 0.00050 | mg/L | 0.00174
Iron, total | 0.010 | mg/L | 0.375
Lead, total | 0.000050 | mg/L | <0.000050
Lithium, total | 0.0010 | mg/L | 0.0011
Magnesium, total | 0.0050 | mg/L | 2.62
Manganese, total | 0.00010 | mg/L | 0.00759
Mercury, total | 0.0000050 | mg/L | <0.0000050
Molybdenum, total | 0.000050 | mg/L | 0.000155
Nickel, total | 0.00050 | mg/L | 0.00061
Phosphorus, total | 0.050 | mg/L | <0.050
Potassium, total | 0.050 | mg/L | 0.788
Rubidium, total | 0.00020 | mg/L | 0.00156
Selenium, total | 0.000050 | mg/L | 0.000073
Silicon, total | 0.10 | mg/L | 1.99
Silver, total | 0.000010 | mg/L | <0.000010
Sodium, total | 0.050 | mg/L | 3.30
Strontium, total | 0.00020 | mg/L | 0.0254
Sulfur, total | 0.50 | mg/L | <0.50
Tellurium, total | 0.00020 | mg/L | <0.00020
Thallium, total | 0.000010 | mg/L | <0.000010
Thorium, total | 0.00010 | mg/L | <0.00010
Tin, total | 0.00010 | mg/L | <0.00010
Titanium, total | 0.00030 | mg/L | 0.0100
Tungsten, total | 0.00010 | mg/L | <0.00010
Uranium, total | 0.000010 | mg/L | 0.000075
Vanadium, total | 0.00050 | mg/L | 0.00084
Zinc, total | 0.0030 | mg/L | <0.0030
Zirconium, total | 0.00020 | mg/L | 0.00032

## Detailed Report
Results of Analysis TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
Analyte | ALS Sample ID | Client Sample ID | Matrix | Sub-Matrix | Method | Results | Detection Limit | Units | Qual | Date Sampled | Time Sampled | Prep Date | Analysis Date | QC Lot | QC Eval | Hold Time Eval
Field Tests (Matrix: Water)
Temperature, field | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | EF001 | 22.4 | 0.10 | °C |  | 21-Jun-2023 | 11:00 |  | 23-Jun-2023 |  | ü | ü
pH, field | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | EF001 | 8.08 | 0.10 | pH units |  | 21-Jun-2023 | 11:00 |  | 23-Jun-2023 |  | ü | ü
Physical Tests (Matrix: Water)
Hardness (as CaCO3), from total Ca/Mg | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | EC100A | 43.7 | 0.50 | mg/L |  | 21-Jun-2023 | 11:00 |  | 26-Jun-2023 |  | ü | ü
Anions and Nutrients (Matrix: Water)
Ammonia, total (as N) | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E298 | 0.0090 | 0.0050 | mg/L |  | 21-Jun-2023 | 11:00 | 27-Jun-2023 | 27-Jun-2023 | 1010115 | ü | ü
Ammonia, un-ionized (as N), field | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | EC298A | <0.0010 | 0.0010 | mg/L |  | 21-Jun-2023 | 11:00 |  | 23-Jun-2023 |  | ü | ü
Kjeldahl nitrogen, total [TKN] | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E318 | 0.485 | 0.050 | mg/L |  | 21-Jun-2023 | 11:00 | 27-Jun-2023 | 27-Jun-2023 | 1008233 | ü | ü
Phosphorus, total dissolved | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E375-L | 0.0068 | 0.0030 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1003542 | ü | ü
Microbiological Tests (Matrix: Water)
Coliforms, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E010 | 308 | 1 | MPN/100mL |  | 21-Jun-2023 | 11:00 |  | 22-Jun-2023 | 1003504 | ü | ü
Coliforms, Escherichia coli [E. coli] | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E010 | 105 | 1 | MPN/100mL |  | 21-Jun-2023 | 11:00 |  | 22-Jun-2023 | 1003504 | ü | ü
Total Metals (Matrix: Water)
Aluminum, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.303 | 0.0030 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Antimony, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Arsenic, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00048 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Barium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00857 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Beryllium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.000020 | 0.000020 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Bismuth, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.000050 | 0.000050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Boron, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.010 | 0.010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Cadmium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.0000050 | 0.0000050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Calcium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 13.2 | 0.050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Cesium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.000022 | 0.000010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Chromium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00106 | 0.00050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Cobalt, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00010 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Copper, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00174 | 0.00050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Iron, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.375 | 0.010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Lead, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.000050 | 0.000050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Lithium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.0011 | 0.0010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Magnesium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 2.62 | 0.0050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Manganese, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00759 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Mercury, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E508 | <0.0000050 | 0.0000050 | mg/L |  | 21-Jun-2023 | 11:00 | 26-Jun-2023 | 26-Jun-2023 | 1008302 | ü | ü
Molybdenum, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.000155 | 0.000050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Nickel, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00061 | 0.00050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Phosphorus, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.050 | 0.050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Potassium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.788 | 0.050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Rubidium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00156 | 0.00020 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Selenium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.000073 | 0.000050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Silicon, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 1.99 | 0.10 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Silver, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.000010 | 0.000010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Sodium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 3.30 | 0.050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Strontium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.0254 | 0.00020 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Sulfur, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.50 | 0.50 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Tellurium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.00020 | 0.00020 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Thallium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.000010 | 0.000010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Thorium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Tin, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Titanium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.0100 | 0.00030 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Tungsten, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Uranium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.000075 | 0.000010 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Vanadium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00084 | 0.00050 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Zinc, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | <0.0030 | 0.0030 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Zirconium, total | TY2305891-001 | Dryden Govt. Dock DGD-01 | Water | Water | E420 | 0.00032 | 0.00020 | mg/L |  | 21-Jun-2023 | 11:00 | 23-Jun-2023 | 23-Jun-2023 | 1004751 | ü | ü
Evaluation Legend
ü | QC Lot met ALS Data Quality Objectives
Hold Time Evaluation Legend
ü | = within holding time

## Duplicates
Duplicates TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
ALS ID | Reference | Client Sample ID | QC Type | QC Lot | Analyte | Matrix | Method | Sample Result | Duplicate Result | Detection Limit | Units | RPD(%) or Diff. | Duplicate Limits | Qual | Eval
Anions and Nutrients (Matrix: Water)
QC-1010115-004 | TY2305891-001 | Dryden Govt. Dock DGD-01 | DUP | 1010115 | Ammonia, total (as N) | Water | E298 | 0.0090 | 0.0115 | 0.0050 | mg/L | 0.0025 | Diff <2x LOR |  | ü
QC-1008233-004 | Anonymous | Anonymous | DUP | 1008233 | Kjeldahl nitrogen, total [TKN] | Water | E318 | 0.419 | 0.432 | 0.050 | mg/L | 0.012 | Diff <2x LOR |  | ü
QC-1003542-004 | Anonymous | Anonymous | DUP | 1003542 | Phosphorus, total dissolved | Water | E375-L | 0.0075 | 0.0064 | 0.0030 | mg/L | 0.0011 | Diff <2x LOR |  | ü
Microbiological Tests (Matrix: Water)
QC-1003504-003 | Anonymous | Anonymous | DUP | 1003504 | Coliforms, total | Water | E010 | <1 | <1 | 1 | MPN/100mL | 0 | Diff <2x LOR |  | ü
QC-1003504-003 | Anonymous | Anonymous | DUP | 1003504 | Coliforms, Escherichia coli [E. coli] | Water | E010 | <1 | <1 | 1 | MPN/100mL | 0 | Diff <2x LOR |  | ü
Total Metals (Matrix: Water)
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Aluminum, total | Water | E420 | 0.124 | 0.110 | 0.0030 | mg/L | 11.7% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Antimony, total | Water | E420 | 0.00035 | 0.00033 | 0.00010 | mg/L | 0.00002 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Arsenic, total | Water | E420 | 0.00146 | 0.00142 | 0.00010 | mg/L | 2.80% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Barium, total | Water | E420 | 0.0221 | 0.0224 | 0.00010 | mg/L | 1.18% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Beryllium, total | Water | E420 | <0.000020 | <0.000020 | 0.000020 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Bismuth, total | Water | E420 | 0.000059 | <0.000050 | 0.000050 | mg/L | 0.000009 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Boron, total | Water | E420 | 0.034 | 0.033 | 0.010 | mg/L | 0.002 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Cadmium, total | Water | E420 | 0.0000816 | 0.0000782 | 0.0000050 | mg/L | 4.19% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Calcium, total | Water | E420 | 52.0 | 49.9 | 0.050 | mg/L | 4.16% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Cesium, total | Water | E420 | 0.000360 | 0.000352 | 0.000010 | mg/L | 2.31% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Chromium, total | Water | E420 | <0.00050 | <0.00050 | 0.00050 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Cobalt, total | Water | E420 | 0.0122 | 0.0118 | 0.00010 | mg/L | 3.48% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Copper, total | Water | E420 | 1.07 | 1.02 | 0.00050 | mg/L | 4.53% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Iron, total | Water | E420 | 0.165 | 0.157 | 0.010 | mg/L | 5.00% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Lead, total | Water | E420 | <0.000050 | <0.000050 | 0.000050 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Lithium, total | Water | E420 | 0.0010 | <0.0010 | 0.0010 | mg/L | 0.00005 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Magnesium, total | Water | E420 | 5.35 | 5.24 | 0.0050 | mg/L | 2.17% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Manganese, total | Water | E420 | 1.28 | 1.24 | 0.00010 | mg/L | 3.22% | 20 |  | ü
QC-1008302-004 | Anonymous | Anonymous | DUP | 1008302 | Mercury, total | Water | E508 | <0.0000050 | <0.0000050 | 0.0000050 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Molybdenum, total | Water | E420 | 0.00771 | 0.00738 | 0.000050 | mg/L | 4.37% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Nickel, total | Water | E420 | 0.0276 | 0.0271 | 0.00050 | mg/L | 1.98% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Phosphorus, total | Water | E420 | <0.050 | <0.050 | 0.050 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Potassium, total | Water | E420 | 4.22 | 4.18 | 0.050 | mg/L | 0.833% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Rubidium, total | Water | E420 | 0.0106 | 0.0102 | 0.00020 | mg/L | 3.33% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Selenium, total | Water | E420 | 0.00116 | 0.00110 | 0.000050 | mg/L | 5.12% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Silicon, total | Water | E420 | 3.74 | 3.60 | 0.10 | mg/L | 3.99% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Silver, total | Water | E420 | 0.00348 | 0.00342 | 0.000010 | mg/L | 1.96% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Sodium, total | Water | E420 | 13.0 | 12.4 | 0.050 | mg/L | 4.50% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Strontium, total | Water | E420 | 0.149 | 0.146 | 0.00020 | mg/L | 2.36% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Sulfur, total | Water | E420 | 11.8 | 11.5 | 0.50 | mg/L | 3.09% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Tellurium, total | Water | E420 | <0.00020 | <0.00020 | 0.00020 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Thallium, total | Water | E420 | 0.000018 | 0.000016 | 0.000010 | mg/L | 0.000002 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Thorium, total | Water | E420 | <0.00010 | <0.00010 | 0.00010 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Tin, total | Water | E420 | <0.00010 | <0.00010 | 0.00010 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Titanium, total | Water | E420 | <0.00210 | <0.00210 | 0.00210 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Tungsten, total | Water | E420 | 0.00073 | 0.00070 | 0.00010 | mg/L | 0.00002 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Uranium, total | Water | E420 | 0.000770 | 0.000770 | 0.000010 | mg/L | 0.0805% | 20 |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Vanadium, total | Water | E420 | 0.00058 | 0.00054 | 0.00050 | mg/L | 0.00004 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Zinc, total | Water | E420 | <0.0030 | 0.0033 | 0.0030 | mg/L | 0.0003 | Diff <2x LOR |  | ü
QC-1004751-004 | Anonymous | Anonymous | DUP | 1004751 | Zirconium, total | Water | E420 | <0.00020 | <0.00020 | 0.00020 | mg/L | 0 | Diff <2x LOR |  | ü
Evaluation Legend
ü | QC Lot met ALS Data Quality Objectives
Note on D9: Terminology: DUP = Duplicate MSD = Matrix Spike Duplicate LCSD = Lab Control Sample Duplicate
Note on M9: RPD is Relative Percent Difference (Difference /Mean expressed as a percent). Used as the default precision evaluation. Surrogate is reported as % Recovery

## Quality Control
Quality Control TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
QC Type | Analyte | QC Lot | ALS QC ID | Reference | Matrix | Method | Result | Target | Units | % | Limit | Units | Qual | Eval
Anions and Nutrients (Matrix: Water)
LCS | Phosphorus, total dissolved | 1003542 | QC-1003542-002 |  | Water | E375-L | 0.0153 | 0.0168 mg/L | mg/L | 91.1 | 80-120 | % |  | ü
MS | Phosphorus, total dissolved | 1003542 | Dryden Govt. Dock DGD-01 | TY2305891-001 | Water | E375-L | 0.0354 | 0.035 mg/L | mg/L | 101 | 70-130 | % |  | ü
LCS | Kjeldahl nitrogen, total [TKN] | 1008233 | QC-1008233-002 |  | Water | E318 | 3.74 | 4 mg/L | mg/L | 93.5 | 75-125 | % |  | ü
MS | Kjeldahl nitrogen, total [TKN] | 1008233 | Anonymous | Anonymous | Water | E318 | 2.63 | 2.5 mg/L | mg/L | 105 | 70-130 | % |  | ü
LCS | Ammonia, total (as N) | 1010115 | QC-1010115-002 |  | Water | E298 | 0.189 | 0.2 mg/L | mg/L | 94.3 | 85-115 | % |  | ü
MS | Ammonia, total (as N) | 1010115 | Dryden Govt. Dock DGD-01 | TY2305891-001 | Water | E298 | 0.0964 | 0.1 mg/L | mg/L | 96.4 | 75-125 | % |  | ü
MB | Phosphorus, total dissolved | 1003542 | QC-1003542-001 |  | Water | E375-L | <0.0030 |  | mg/L | - | 0.003 | mg/L |  | ü
MB | Kjeldahl nitrogen, total [TKN] | 1008233 | QC-1008233-001 |  | Water | E318 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Ammonia, total (as N) | 1010115 | QC-1010115-001 |  | Water | E298 | <0.0050 |  | mg/L | - | 0.005 | mg/L |  | ü
Microbiological Tests (Matrix: Water)
MB | Coliforms, total | 1003504 | QC-1003504-001 |  | Water | E010 | <1 |  | MPN/100mL | - | 1 | MPN/100mL |  | ü
MB | Coliforms, Escherichia coli [E. coli] | 1003504 | QC-1003504-001 |  | Water | E010 | <1 |  | MPN/100mL | - | 1 | MPN/100mL |  | ü
Total Metals (Matrix: Water)
LCS | Aluminum, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.100 | 0.1 mg/L | mg/L | 100 | 80-120 | % |  | ü
LCS | Antimony, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0551 | 0.05 mg/L | mg/L | 110 | 80-120 | % |  | ü
LCS | Arsenic, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0541 | 0.05 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Barium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0133 | 0.0125 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Beryllium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00525 | 0.005 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Bismuth, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0540 | 0.05 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Boron, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.042 | 0.05 mg/L | mg/L | 84.9 | 80-120 | % |  | ü
LCS | Cadmium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00547 | 0.005 mg/L | mg/L | 109 | 80-120 | % |  | ü
LCS | Calcium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 2.53 | 2.5 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Cesium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00268 | 0.0025 mg/L | mg/L | 107 | 80-120 | % |  | ü
LCS | Chromium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0134 | 0.0125 mg/L | mg/L | 107 | 80-120 | % |  | ü
LCS | Cobalt, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0130 | 0.0125 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Copper, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0129 | 0.0125 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Iron, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.058 | 0.05 mg/L | mg/L | 115 | 80-120 | % |  | ü
LCS | Lead, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0261 | 0.025 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Lithium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0130 | 0.0125 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Magnesium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 2.69 | 2.5 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Manganese, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0132 | 0.0125 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Molybdenum, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0138 | 0.0125 mg/L | mg/L | 110 | 80-120 | % |  | ü
LCS | Nickel, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0257 | 0.025 mg/L | mg/L | 103 | 80-120 | % |  | ü
LCS | Phosphorus, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.533 | 0.5 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Potassium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 2.60 | 2.5 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Rubidium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00551 | 0.005 mg/L | mg/L | 110 | 80-120 | % |  | ü
LCS | Selenium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0526 | 0.05 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Silicon, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.55 | 0.5 mg/L | mg/L | 110 | 80-120 | % |  | ü
LCS | Silver, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00503 | 0.005 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Sodium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 2.71 | 2.5 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Strontium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0135 | 0.0125 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Sulfur, total | 1004751 | QC-1004751-002 |  | Water | E420 | 2.30 | 2.5 mg/L | mg/L | 91.8 | 80-120 | % |  | ü
LCS | Tellurium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00578 | 0.005 mg/L | mg/L | 116 | 80-120 | % |  | ü
LCS | Thallium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0520 | 0.05 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Thorium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00537 | 0.005 mg/L | mg/L | 107 | 80-120 | % |  | ü
LCS | Tin, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0270 | 0.025 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Titanium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0133 | 0.0125 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Tungsten, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00548 | 0.005 mg/L | mg/L | 110 | 80-120 | % |  | ü
LCS | Uranium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.000262 | 0.0003 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Vanadium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0270 | 0.025 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Zinc, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.0253 | 0.025 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Zirconium, total | 1004751 | QC-1004751-002 |  | Water | E420 | 0.00544 | 0.005 mg/L | mg/L | 109 | 80-120 | % |  | ü
MS | Aluminum, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 0.2 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Antimony, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0242 | 0.02 mg/L | mg/L | 121 | 70-130 | % |  | ü
MS | Arsenic, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0206 | 0.02 mg/L | mg/L | 103 | 70-130 | % |  | ü
MS | Barium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0209 | 0.02 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Beryllium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0416 | 0.04 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Bismuth, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0101 | 0.01 mg/L | mg/L | 101 | 70-130 | % |  | ü
MS | Boron, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.108 | 0.1 mg/L | mg/L | 108 | 70-130 | % |  | ü
MS | Cadmium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.00435 | 0.004 mg/L | mg/L | 109 | 70-130 | % |  | ü
MS | Calcium, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 4 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Cesium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0104 | 0.01 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Chromium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0414 | 0.04 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Cobalt, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0204 | 0.02 mg/L | mg/L | 102 | 70-130 | % |  | ü
MS | Copper, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 0.02 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Iron, total | 1004751 | Anonymous | Anonymous | Water | E420 | 2.00 | 2 mg/L | mg/L | 99.8 | 70-130 | % |  | ü
MS | Lead, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0209 | 0.02 mg/L | mg/L | 105 | 70-130 | % |  | ü
MS | Lithium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.103 | 0.1 mg/L | mg/L | 103 | 70-130 | % |  | ü
MS | Magnesium, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 1 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Manganese, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 0.02 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Molybdenum, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0244 | 0.02 mg/L | mg/L | 122 | 70-130 | % |  | ü
MS | Nickel, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0401 | 0.04 mg/L | mg/L | 100 | 70-130 | % |  | ü
MS | Phosphorus, total | 1004751 | Anonymous | Anonymous | Water | E420 | 10.5 | 10 mg/L | mg/L | 105 | 70-130 | % |  | ü
MS | Potassium, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 4 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Rubidium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0212 | 0.02 mg/L | mg/L | 106 | 70-130 | % |  | ü
MS | Selenium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0416 | 0.04 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Silicon, total | 1004751 | Anonymous | Anonymous | Water | E420 | 10.6 | 10 mg/L | mg/L | 106 | 70-130 | % |  | ü
MS | Silver, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.00382 | 0.004 mg/L | mg/L | 95.6 | 70-130 | % |  | ü
MS | Sodium, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 2 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Strontium, total | 1004751 | Anonymous | Anonymous | Water | E420 | ND | 0.02 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Sulfur, total | 1004751 | Anonymous | Anonymous | Water | E420 | 20.5 | 20 mg/L | mg/L | 102 | 70-130 | % |  | ü
MS | Tellurium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0501 | 0.04 mg/L | mg/L | 125 | 70-130 | % |  | ü
MS | Thallium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.00409 | 0.004 mg/L | mg/L | 102 | 70-130 | % |  | ü
MS | Thorium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0222 | 0.02 mg/L | mg/L | 111 | 70-130 | % |  | ü
MS | Tin, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0238 | 0.02 mg/L | mg/L | 119 | 70-130 | % |  | ü
MS | Titanium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0501 | 0.04 mg/L | mg/L | 125 | 70-130 | % |  | ü
MS | Tungsten, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0252 | 0.02 mg/L | mg/L | 126 | 70-130 | % |  | ü
MS | Uranium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.00422 | 0.004 mg/L | mg/L | 105 | 70-130 | % |  | ü
MS | Vanadium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.106 | 0.1 mg/L | mg/L | 106 | 70-130 | % |  | ü
MS | Zinc, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.401 | 0.4 mg/L | mg/L | 100 | 70-130 | % |  | ü
MS | Zirconium, total | 1004751 | Anonymous | Anonymous | Water | E420 | 0.0492 | 0.04 mg/L | mg/L | 123 | 70-130 | % |  | ü
LCS | Mercury, total | 1008302 | QC-1008302-002 |  | Water | E508 | 0.000100 | 0.0001 mg/L | mg/L | 100 | 80-120 | % |  | ü
MS | Mercury, total | 1008302 | Dryden Govt. Dock DGD-01 | TY2305891-001 | Water | E508 | 0.000107 | 0.0001 mg/L | mg/L | 107 | 70-130 | % |  | ü
MB | Aluminum, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.0030 |  | mg/L | - | 0.003 | mg/L |  | ü
MB | Antimony, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Arsenic, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Barium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Beryllium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000020 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Bismuth, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Boron, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.010 |  | mg/L | - | 0.01 | mg/L |  | ü
MB | Cadmium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.0000050 |  | mg/L | - | 0.000005 | mg/L |  | ü
MB | Calcium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Cesium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Chromium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Cobalt, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Copper, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Iron, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.010 |  | mg/L | - | 0.01 | mg/L |  | ü
MB | Lead, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Lithium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.0010 |  | mg/L | - | 0.001 | mg/L |  | ü
MB | Magnesium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.0050 |  | mg/L | - | 0.005 | mg/L |  | ü
MB | Manganese, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Molybdenum, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Nickel, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Phosphorus, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Potassium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Rubidium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Selenium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Silicon, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.10 |  | mg/L | - | 0.1 | mg/L |  | ü
MB | Silver, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Sodium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Strontium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Sulfur, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.50 |  | mg/L | - | 0.5 | mg/L |  | ü
MB | Tellurium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Thallium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Thorium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Tin, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Titanium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00030 |  | mg/L | - | 0.0003 | mg/L |  | ü
MB | Tungsten, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Uranium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Vanadium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Zinc, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.0030 |  | mg/L | - | 0.003 | mg/L |  | ü
MB | Zirconium, total | 1004751 | QC-1004751-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Mercury, total | 1008302 | QC-1008302-001 |  | Water | E508 | <0.0000050 |  | mg/L | - | 0.000005 | mg/L |  | ü
Evaluation Legend
ü | QC Lot met ALS Data Quality Objectives
Note on A9: Terminology: MB = Method Blank MS = Matrix Spike LCS = Laboratory Control Sample RM = Reference Material IRM = Internal Reference Material CVS = Calibration Verification Standard

## Methodology
Methodology TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
Method | ALS Test Description | Lab Location | Matrix | Method Reference | Methodology Description
Anions and Nutrients (Matrix: Water)
E298 | Ammonia by Fluorescence | Waterloo - Environmental | Water | Method Fialab 100, 2018 | Ammonia in water is determined by automated continuous flow analysis with membrane diffusion and fluorescence detection, after reaction with OPA (ortho-phthalaldehyde). This method is approved under US EPA 40 CFR Part 136 (May 2021)
E318 | Total Kjeldahl Nitrogen by Fluorescence (Low Level) | Waterloo - Environmental | Water | Method Fialab 100, 2018 | TKN in water is determined by automated continuous flow analysis with membrane diffusion and fluorescence detection, after reaction with OPA (ortho-phthalaldehyde). This method is approved under US EPA 40 CFR Part 136 (May 2021).
E375-L | Total Dissolved Phosphorus by Colourimetry (0.003 mg/L) | Thunder Bay - Environmental | Water | APHA 4500-P E (mod). | Total Dissolved Phosphorus is determined colourimetrically using a discrete analyzer after filtration through a 0.45 micron filter followed by heated persulfate digestion of the sample.
EC298A | Un-ionized and Ionized Ammonia (Calculation) (Field Temperature and pH) | Waterloo - Environmental | Water | CCME CWQG Ammonia | Un-ionized ammonia is calculated from test results for total ammonia, field temperature and pH, and is expressed in units of mg/L "as N".
Field Tests (Matrix: Water)
EF001 | Field pH,EC,Salinity,Cl2,ClO2,ORP,DO, Turbidity,T,T-P,o-PO4,NH3,Chloramine | Thunder Bay - Environmental | Water | Field Measurement (Client Supplied) | Field pH,EC,Salinity,Cl2,ClO2,ORP,DO, Turbidity,T,T-P,o-PO4,NH3 or Chloramine measurements provided by client and recorded on ALS report may affect the validity of results.
Microbiological Tests (Matrix: Water)
E010 | Total Coliforms and E. coli (Enzyme Substrate) | Thunder Bay - Environmental | Water | APHA 9223 (mod) | The enzyme substrate test simultaneously detects Total Coliforms and E. coli in a 100 mL sample after incubation at 35.0 ±0.5°C for either 18 or 24 hours (dependent on reagent used).
Physical Tests (Matrix: Water)
EC100A | Hardness (Calculated) from Total Ca/Mg | Thunder Bay - Environmental | Water | APHA 2340B | “Hardness (as CaCO3), from total Ca/Mg” is calculated from the sum of total Calcium and Magnesium concentrations, expressed in CaCO3 equivalents. “Total Hardness” refers to the sum of Calcium and Magnesium Hardness. Hardness is normally or preferentially calculated from dissolved Calcium and Magnesium concentrations, because it is a property of water due to dissolved divalent cations. Hardness from total Ca/Mg is normally comparable to Dissolved Hardness in non-turbid waters.
Total Metals (Matrix: Water)
E420 | Total metals in Water by CRC ICPMS | Thunder Bay - Environmental | Water | EPA 200.2/6020B (mod) | Water samples are digested with nitric and hydrochloric acids, and analyzed by Collision/Reaction Cell ICPMS. Method Limitation (re: Sulfur): Sulfide and volatile sulfur species may not be recovered by this method.
E508 | Total Mercury in Water by CVAAS | Waterloo - Environmental | Water | EPA 1631E (mod) | Water samples undergo a cold-oxidation using bromine monochloride prior to reduction with stannous chloride, and analyzed by CVAAS
Method References
The analytical methods used by ALS are developed using internationally recognized reference methods (where available), such as those published by US EPA, APHA Standard Methods, ASTM, ISO, Environment Canada, BC MOE, and Ontario MOE. Reference methods may incorporate modifications to improve performance

## Detection Limits
Detection Limits TY2305891
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 22-Jun-2023 11:25
Issue Date | 28-Jun-2023 16:50
Amendment | 0
Client Sample ID |  | Dryden Govt. Dock DGD-01
Date Sampled |  | 21-Jun-2023
Time Sampled |  | 11:00
ALS Sample ID |  | TY2305891-001
Analyte | Units | Sub-Matrix: Water
Field Tests (Matrix: Water)
Temperature, field | °C | 0.10
pH, field | pH units | 0.10
Physical Tests (Matrix: Water)
Hardness (as CaCO3), from total Ca/Mg | mg/L | 0.50
Anions and Nutrients (Matrix: Water)
Ammonia, total (as N) | mg/L | 0.0050
Ammonia, un-ionized (as N), field | mg/L | 0.0010
Kjeldahl nitrogen, total [TKN] | mg/L | 0.050
Phosphorus, total dissolved | mg/L | 0.0030
Microbiological Tests (Matrix: Water)
Coliforms, total | MPN/100mL | 1
Coliforms, Escherichia coli [E. coli] | MPN/100mL | 1
Total Metals (Matrix: Water)
Aluminum, total | mg/L | 0.0030
Antimony, total | mg/L | 0.00010
Arsenic, total | mg/L | 0.00010
Barium, total | mg/L | 0.00010
Beryllium, total | mg/L | 0.000020
Bismuth, total | mg/L | 0.000050
Boron, total | mg/L | 0.010
Cadmium, total | mg/L | 0.0000050
Calcium, total | mg/L | 0.050
Cesium, total | mg/L | 0.000010
Chromium, total | mg/L | 0.00050
Cobalt, total | mg/L | 0.00010
Copper, total | mg/L | 0.00050
Iron, total | mg/L | 0.010
Lead, total | mg/L | 0.000050
Lithium, total | mg/L | 0.0010
Magnesium, total | mg/L | 0.0050
Manganese, total | mg/L | 0.00010
Mercury, total | mg/L | 0.0000050
Molybdenum, total | mg/L | 0.000050
Nickel, total | mg/L | 0.00050
Phosphorus, total | mg/L | 0.050
Potassium, total | mg/L | 0.050
Rubidium, total | mg/L | 0.00020
Selenium, total | mg/L | 0.000050
Silicon, total | mg/L | 0.10
Silver, total | mg/L | 0.000010
Sodium, total | mg/L | 0.050
Strontium, total | mg/L | 0.00020
Sulfur, total | mg/L | 0.50
Tellurium, total | mg/L | 0.00020
Thallium, total | mg/L | 0.000010
Thorium, total | mg/L | 0.00010
Tin, total | mg/L | 0.00010
Titanium, total | mg/L | 0.00030
Tungsten, total | mg/L | 0.00010
Uranium, total | mg/L | 0.000010
Vanadium, total | mg/L | 0.00050
Zinc, total | mg/L | 0.0030
Zirconium, total | mg/L | 0.00020

## ConfiguredGuideline (hidden)
CATMATRIXIDCOMPOUNDIDUNITID | LOWERLIMIT | UPPERLIMIT | LIMITDISPLAY | FAILEVALUATIONSWHENEQUALTODEFINEDLIMIT | GUIDELINECATEGORYLIMITTYPE(0:QUANTI,1:QUALI) | GUIDELINECATEGORYLIMITPREDEFINEDRESULTELEMENT

## GuidelineResultsEvaluations (hidden)
MATRIXGUIDELINECATEGORYCOMPIDMETHODANALYTELABSAMPLEIDRESULT | PASSEDGUIDELINEEVALUATION | EVALUATIONSTATUS

## NLists (hidden)
CATEGORYINDEX | CATEGORYNAME | CATEGORYKEY | SELECTINDEXKEY | SELECTCATEGORYKEY

## EddPostProcessingSheet (hidden)
AutoFitColumns | NLists
addImage | Cover Page | 1 | 1 | C:\Angel\BuildTest\Reports\images\als_enviromental_logo_CA.png
addCombo | Criteria Summary | CategoryCombo | 280 | 117 | NLists!$B$2:$B$1 | NLists!D2 | 560 | 14
addConditionalFormatting | Criteria Summary | R18C10:R99999C10 | IF(ISNUMBER(SEARCH(""QUALITATIVE"",$B18)),IF(ISNUMBER(SEARCH("" ¦"" & J18 & ""¦ "",$B18)),FALSE,TRUE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(VLOOKUP(SUBSTITUTE(CONCATENATE(NLists!$E$2,$C18,$A18,J$14,J18),$I18,""""),GuidelineResultsEvaluations!$A:$B,2,FALSE)=""false"",TRUE,FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(VALUE($G18)=1,IF(ISNUMBER(VALUE(J18)),IF(AND(ISNUMBER(VALUE($E18)),ISNUMBER(VALUE($F18))),OR(VALUE(J18)<=VALUE($E18),VALUE(J18)>=VALUE($F18)),IF(ISNUMBER(VALUE($E18)),VALUE(J18)<=VALUE($E18),IF(ISNUMBER(VALUE($F18)),VALUE(J18)>=VALUE($F18),FALSE))),FALSE),IF(ISNUMBER(VALUE(J18)),IF(AND(ISNUMBER(VALUE($E18)),ISNUMBER(VALUE($F18))),OR(VALUE(J18)<VALUE($E18),VALUE(J18)>VALUE($F18)),IF(ISNUMBER(VALUE($E18)),VALUE(J18)<VALUE($E18),IF(ISNUMBER(VALUE($F18)),VALUE(J18)>VALUE($F18),FALSE))),FALSE)) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B18)),IF(AND(SEARCH(""<"",J18)=1,ISNUMBER(VALUE($F18))),VALUE(SUBSTITUTE(J18,""<"","""",1)) > VALUE($F18),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B18)),IF(AND(SEARCH(""<"",J18)=1,ISNUMBER(VALUE($E18))),VALUE(SUBSTITUTE(J18,""<"","""",1)) <= VALUE($E18),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B18)),IF(AND(SEARCH(""<"",J18)=1,ISNUMBER(VALUE($E18))),VALUE(SUBSTITUTE(J18,""<"","""",1)) <= VALUE($E18),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" }
addCombo | MinMax | CategoryCombo | 280 | 117 | NLists!$B$2:$B$1 | NLists!D2 | 560 | 14
addConditionalFormatting | MinMax | R14C10:R99999C13 | IF(IFERROR(SEARCH(""Client Sample ID"",J$11)=1,FALSE),TRUE,FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"" } | IF(VALUE($G14)=1,IF(ISNUMBER(VALUE(J14)),IF(AND(ISNUMBER(VALUE($E14)),ISNUMBER(VALUE($F14))),OR(VALUE(J14)<=VALUE($E14),VALUE(J14)>=VALUE($F14)),IF(ISNUMBER(VALUE($E14)),VALUE(J14)<=VALUE($E14),IF(ISNUMBER(VALUE($F14)),VALUE(J14)>=VALUE($F14),FALSE))),FALSE),IF(ISNUMBER(VALUE(J14)),IF(AND(ISNUMBER(VALUE($E14)),ISNUMBER(VALUE($F14))),OR(VALUE(J14)<VALUE($E14),VALUE(J14)>VALUE($F14)),IF(ISNUMBER(VALUE($E14)),VALUE(J14)<VALUE($E14),IF(ISNUMBER(VALUE($F14)),VALUE(J14)>VALUE($F14),FALSE))),FALSE)) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B14)),IF(AND(SEARCH(""<"",J14)=1,ISNUMBER(VALUE($F14))),VALUE(SUBSTITUTE(J14,""<"","""",1)) > VALUE($F14),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B14)),IF(AND(SEARCH(""<"",J14)=1,ISNUMBER(VALUE($E14))),VALUE(SUBSTITUTE(J14,""<"","""",1)) <= VALUE($E14),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B14)),IF(AND(SEARCH(""<"",J14)=1,ISNUMBER(VALUE($E14))),VALUE(SUBSTITUTE(J14,""<"","""",1)) <= VALUE($E14),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" }
addWorkbookPassword | 77$@!*(&%$)9njdjudeyg
addAutoFilter | Detailed Report | R9C1:R68C18
addAutoFilter | Duplicates | R9C1:R60C18
addAutoFilter | Quality Control | R9C1:R146C15