## Cover Page
Report To | Chris Herc, Grand Council Treaty #3 |  |  | Date Received | 21-Aug-2023 10:40
| P.O Box 1720 |  |  | Issue Date | 28-Aug-2023 12:25
|  |  |  | Amendment | 0
| Kenora, ON P9N3X7, Canada |  |  | Version | FINAL
Client Phone | 506-653-0807
Certificate of Analysis
|  | Lab Work Order # | TY2308199
Project PO #
Project
Legal Site Description
C of C Numbers
Comments
Where possible, ALS will store samples for the following durations, measured from date of sample submission: 30 days for Soil and Water samples; 6 months for Tissue/Biota samples; 14 days for air samples collected on re-usable media; and 3 days for water samples submitted for microbiological testing. Longer storage times are available upon request. Holding times are displayed as "---" if no guidance exists from CCME, Canadian provinces, or broadly recognized international references. Temperature is recorded in °C unless otherwise noted.
Temperature | 19.3
Signatories
This document has been electronically signed by the authorized signatories below. Electronic signing is conducted in accordance with US FDA 21 CFR Part 11.
Signatories |  | Position | Laboratory Department
Cassandra Grzelewski |  | Team Leader - Inorganics | Inorganics, Thunder Bay, Ontario
Taelur Kachur |  | Laboratory Analyst | Microbiology, Thunder Bay, Ontario
Cassandra Grzelewski |  | Team Leader - Inorganics | Administration, Thunder Bay, Ontario
Shannon Veltri |  | Supervisor - Water Chemistry | Inorganics, Thunder Bay, Ontario
Nik Perkio |  | Inorganics Analyst | Metals, Waterloo, Ontario
Cassandra Grzelewski |  | Team Leader - Inorganics | Metals, Thunder Bay, Ontario
[This report shall not be reproduced except in full without the written authority of the Laboratory.]

## Sample Summary
Sample Summary TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
Sample Details
ALS Sample ID | Client Sample ID | Matrix | Sub-Matrix | Date Sampled | Time Sampled
TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | 18-Aug-2023 | 10:36

## Results Summary
Results Summary TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
Client Sample ID |  |  | Keewatin Arena (KA-01)
Date Sampled |  |  | 18-Aug-2023
Time Sampled |  |  | 10:36
ALS Sample ID |  |  | TY2308199-001
Analyte | Lowest Detection Limit | Units | Sub-Matrix: Water
Field Tests (Matrix: Water)
Temperature, field | 0.10 | °C | 20.0
pH, field | 0.10 | pH units | 8.07
Physical Tests (Matrix: Water)
Hardness (as CaCO3), from total Ca/Mg | 0.50 | mg/L | 52.7
Anions and Nutrients (Matrix: Water)
Ammonia, total (as N) | 0.0050 | mg/L | <0.0050
Ammonia, un-ionized (as N), field | 0.0010 | mg/L | <0.0010
Bromide | 0.10 | mg/L | <0.10
Chloride | 0.50 | mg/L | 2.13
Fluoride | 0.020 | mg/L | <0.020
Kjeldahl nitrogen, total [TKN] | 0.050 | mg/L | 0.582
Nitrate (as N) | 0.020 | mg/L | <0.020
Nitrite (as N) | 0.010 | mg/L | <0.010
Phosphate, ortho-, dissolved (as P) | 0.0010 | mg/L | 0.0017
Phosphorus, total | 0.0020 | mg/L | 0.0242
Phosphorus, total dissolved | 0.0030 | mg/L | 0.0052
Sulfate (as SO4) | 0.30 | mg/L | 3.42
Microbiological Tests (Matrix: Water)
Coliforms, total | 1 | MPN/100mL | 649
Coliforms, Escherichia coli [E. coli] | 1 | MPN/100mL | 6
Total Metals (Matrix: Water)
Aluminum, total | 0.0030 | mg/L | 0.0129
Antimony, total | 0.00010 | mg/L | <0.00010
Arsenic, total | 0.00010 | mg/L | 0.00071
Barium, total | 0.00010 | mg/L | 0.00976
Beryllium, total | 0.000020 | mg/L | <0.000020
Bismuth, total | 0.000050 | mg/L | <0.000050
Boron, total | 0.010 | mg/L | <0.010
Cadmium, total | 0.0000050 | mg/L | <0.0000050
Calcium, total | 0.050 | mg/L | 13.6
Cesium, total | 0.000010 | mg/L | <0.000010
Chromium, total | 0.00050 | mg/L | <0.00050
Cobalt, total | 0.00010 | mg/L | <0.00010
Copper, total | 0.00050 | mg/L | 0.00104
Iron, total | 0.010 | mg/L | 0.057
Lead, total | 0.000050 | mg/L | 0.000059
Lithium, total | 0.0010 | mg/L | 0.0012
Magnesium, total | 0.0050 | mg/L | 4.56
Manganese, total | 0.00010 | mg/L | 0.0192
Mercury, total | 0.0000050 | mg/L | <0.0000050
Molybdenum, total | 0.000050 | mg/L | 0.000205
Nickel, total | 0.00050 | mg/L | 0.00054
Phosphorus, total | 0.050 | mg/L | <0.050
Potassium, total | 0.050 | mg/L | 0.920
Rubidium, total | 0.00020 | mg/L | 0.00138
Selenium, total | 0.000050 | mg/L | 0.000106
Silicon, total | 0.10 | mg/L | 1.85
Silver, total | 0.000010 | mg/L | <0.000010
Sodium, total | 0.050 | mg/L | 2.64
Strontium, total | 0.00020 | mg/L | 0.0281
Sulfur, total | 0.50 | mg/L | 1.26
Tellurium, total | 0.00020 | mg/L | <0.00020
Thallium, total | 0.000010 | mg/L | <0.000010
Thorium, total | 0.00010 | mg/L | <0.00010
Tin, total | 0.00010 | mg/L | <0.00010
Titanium, total | 0.00030 | mg/L | <0.00030
Tungsten, total | 0.00010 | mg/L | <0.00010
Uranium, total | 0.000010 | mg/L | 0.000072
Vanadium, total | 0.00050 | mg/L | <0.00050
Zinc, total | 0.0030 | mg/L | <0.0030
Zirconium, total | 0.00020 | mg/L | <0.00020

## Detailed Report
Results of Analysis TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
Analyte | ALS Sample ID | Client Sample ID | Matrix | Sub-Matrix | Method | Results | Detection Limit | Units | Qual | Date Sampled | Time Sampled | Prep Date | Analysis Date | QC Lot | QC Eval | Hold Time Eval
Field Tests (Matrix: Water)
Temperature, field | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | EF001 | 20.0 | 0.10 | °C |  | 18-Aug-2023 | 10:36 |  | 22-Aug-2023 |  | ü | ü
pH, field | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | EF001 | 8.07 | 0.10 | pH units |  | 18-Aug-2023 | 10:36 |  | 22-Aug-2023 |  | ü | ü
Physical Tests (Matrix: Water)
Hardness (as CaCO3), from total Ca/Mg | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | EC100A | 52.7 | 0.50 | mg/L |  | 18-Aug-2023 | 10:36 |  | 24-Aug-2023 |  | ü | ü
Anions and Nutrients (Matrix: Water)
Ammonia, total (as N) | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E298 | <0.0050 | 0.0050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 25-Aug-2023 | 1096750 | ü | ü
Ammonia, un-ionized (as N), field | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | EC298A | <0.0010 | 0.0010 | mg/L |  | 18-Aug-2023 | 10:36 |  | 22-Aug-2023 |  | ü | ü
Bromide | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E235.Br | <0.10 | 0.10 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097260 | ü | ü
Chloride | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E235.Cl | 2.13 | 0.50 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097265 | ü | ü
Fluoride | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E235.F | <0.020 | 0.020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097261 | ü | ü
Kjeldahl nitrogen, total [TKN] | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E318 | 0.582 | 0.050 | mg/L |  | 18-Aug-2023 | 10:36 | 23-Aug-2023 | 23-Aug-2023 | 1097558 | ü | ü
Nitrate (as N) | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E235.NO3 | <0.020 | 0.020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097262 | ü | ü
Nitrite (as N) | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E235.NO2 | <0.010 | 0.010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097263 | ü | ü
Phosphate, ortho-, dissolved (as P) | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E378-U | 0.0017 | 0.0010 | mg/L |  | 18-Aug-2023 | 10:36 | 21-Aug-2023 | 21-Aug-2023 | 1095570 | ü | ü
Phosphorus, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E372-U | 0.0242 | 0.0020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1096763 | ü | ü
Phosphorus, total dissolved | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E375-L | 0.0052 | 0.0030 | mg/L |  | 18-Aug-2023 | 10:36 | 23-Aug-2023 | 24-Aug-2023 | 1097559 | ü | û
Sulfate (as SO4) | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E235.SO4 | 3.42 | 0.30 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097264 | ü | ü
Microbiological Tests (Matrix: Water)
Coliforms, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E010 | 649 | 1 | MPN/100mL |  | 18-Aug-2023 | 10:36 |  | 22-Aug-2023 | 1096884 | ü | û
Coliforms, Escherichia coli [E. coli] | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E010 | 6 | 1 | MPN/100mL |  | 18-Aug-2023 | 10:36 |  | 22-Aug-2023 | 1096884 | û | û
Total Metals (Matrix: Water)
Aluminum, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.0129 | 0.0030 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Antimony, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Arsenic, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.00071 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Barium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.00976 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Beryllium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.000020 | 0.000020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Bismuth, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.000050 | 0.000050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Boron, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.010 | 0.010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Cadmium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.0000050 | 0.0000050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Calcium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 13.6 | 0.050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Cesium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.000010 | 0.000010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Chromium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00050 | 0.00050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Cobalt, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Copper, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.00104 | 0.00050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Iron, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.057 | 0.010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Lead, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.000059 | 0.000050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Lithium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.0012 | 0.0010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Magnesium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 4.56 | 0.0050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Manganese, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.0192 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Mercury, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E508 | <0.0000050 | 0.0000050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 22-Aug-2023 | 1097469 | ü | ü
Molybdenum, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.000205 | 0.000050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Nickel, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.00054 | 0.00050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Phosphorus, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.050 | 0.050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Potassium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.920 | 0.050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Rubidium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.00138 | 0.00020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Selenium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.000106 | 0.000050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Silicon, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 1.85 | 0.10 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Silver, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.000010 | 0.000010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Sodium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 2.64 | 0.050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Strontium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.0281 | 0.00020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Sulfur, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 1.26 | 0.50 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Tellurium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00020 | 0.00020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Thallium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.000010 | 0.000010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Thorium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Tin, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Titanium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00030 | 0.00030 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Tungsten, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00010 | 0.00010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Uranium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | 0.000072 | 0.000010 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Vanadium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00050 | 0.00050 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Zinc, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.0030 | 0.0030 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Zirconium, total | TY2308199-001 | Keewatin Arena (KA-01) | Water | Water | E420 | <0.00020 | 0.00020 | mg/L |  | 18-Aug-2023 | 10:36 | 22-Aug-2023 | 23-Aug-2023 | 1096905 | ü | ü
Evaluation Legend
ü | QC Lot met ALS Data Quality Objectives
û | QC Lot did not meet ALS Data Quality Objectives
Hold Time Evaluation Legend
û | = holding time exceedance
ü | = within holding time

## Duplicates
Duplicates TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
ALS ID | Reference | Client Sample ID | QC Type | QC Lot | Analyte | Matrix | Method | Sample Result | Duplicate Result | Detection Limit | Units | RPD(%) or Diff. | Duplicate Limits | Qual | Eval
Anions and Nutrients (Matrix: Water)
QC-1096750-004 | Anonymous | Anonymous | DUP | 1096750 | Ammonia, total (as N) | Water | E298 | 0.0159 | 0.0159 | 0.0050 | mg/L | 0 | Diff <2x LOR |  | ü
QC-MRG6-1097260004 | Anonymous | Anonymous | DUP | 1097260 | Bromide | Water | E235.Br | 1.10 | 1.10 | 1.00 | mg/L | 0.002 | Diff <2x LOR |  | ü
QC-MRG6-1097260004 | Anonymous | Anonymous | DUP | 1097265 | Chloride | Water | E235.Cl | 153 | 155 | 5.00 | mg/L | 1.52% | 20 |  | ü
QC-MRG6-1097260004 | Anonymous | Anonymous | DUP | 1097261 | Fluoride | Water | E235.F | <0.200 | <0.200 | 0.200 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1097558-004 | TY2308199-001 | Keewatin Arena (KA-01) | DUP | 1097558 | Kjeldahl nitrogen, total [TKN] | Water | E318 | 0.582 | 0.576 | 0.050 | mg/L | 0.933% | 20 |  | ü
QC-MRG6-1097260004 | Anonymous | Anonymous | DUP | 1097262 | Nitrate (as N) | Water | E235.NO3 | <0.200 | <0.200 | 0.200 | mg/L | 0 | Diff <2x LOR |  | ü
QC-MRG6-1097260004 | Anonymous | Anonymous | DUP | 1097263 | Nitrite (as N) | Water | E235.NO2 | <0.100 | <0.100 | 0.100 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1095570-004 | Anonymous | Anonymous | DUP | 1095570 | Phosphate, ortho-, dissolved (as P) | Water | E378-U | 1.35 | 1.38 | 0.0400 | mg/L | 1.89% | 20 |  | ü
QC-1096763-004 | Anonymous | Anonymous | DUP | 1096763 | Phosphorus, total | Water | E372-U | 0.0092 | 0.0090 | 0.0020 | mg/L | 0.0001 | Diff <2x LOR |  | ü
QC-1097559-004 | TY2308199-001 | Keewatin Arena (KA-01) | DUP | 1097559 | Phosphorus, total dissolved | Water | E375-L | 0.0052 | 0.0057 | 0.0030 | mg/L | 0.0005 | Diff <2x LOR |  | ü
QC-MRG6-1097260004 | Anonymous | Anonymous | DUP | 1097264 | Sulfate (as SO4) | Water | E235.SO4 | 8.59 | <3.00 | 3.00 | mg/L | 5.59 | Diff <2x LOR |  | ü
Microbiological Tests (Matrix: Water)
QC-1096884-003 | TY2308199-001 | Keewatin Arena (KA-01) | DUP | 1096884 | Coliforms, total | Water | E010 | 649 | 548 | 1 | MPN/100mL | 16.9% | 65 |  | ü
QC-1096884-003 | TY2308199-001 | Keewatin Arena (KA-01) | DUP | 1096884 | Coliforms, Escherichia coli [E. coli] | Water | E010 | 6 | 3 | 1 | MPN/100mL | 68.1% | 65 | DUPM | û
Total Metals (Matrix: Water)
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Aluminum, total | Water | E420 | 2.45 | 2.22 | 0.0060 | mg/L | 10.1% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Antimony, total | Water | E420 | <0.00020 | <0.00020 | 0.00020 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Arsenic, total | Water | E420 | 0.00556 | 0.00538 | 0.00020 | mg/L | 3.31% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Barium, total | Water | E420 | 0.0373 | 0.0358 | 0.00020 | mg/L | 4.30% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Beryllium, total | Water | E420 | 0.000084 | 0.000078 | 0.000040 | mg/L | 0.000006 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Bismuth, total | Water | E420 | <0.000100 | <0.000100 | 0.000100 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Boron, total | Water | E420 | <0.020 | <0.020 | 0.020 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Cadmium, total | Water | E420 | 0.000200 | 0.000178 | 0.0000100 | mg/L | 11.2% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Calcium, total | Water | E420 | 43.3 | 43.6 | 0.100 | mg/L | 0.504% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Cesium, total | Water | E420 | 0.000318 | 0.000280 | 0.000020 | mg/L | 12.6% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Chromium, total | Water | E420 | 0.00645 | 0.00563 | 0.00100 | mg/L | 0.00082 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Cobalt, total | Water | E420 | 0.00161 | 0.00141 | 0.00020 | mg/L | 0.00019 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Copper, total | Water | E420 | 0.00706 | 0.00652 | 0.00100 | mg/L | 0.00054 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Iron, total | Water | E420 | 3.75 | 3.67 | 0.020 | mg/L | 2.17% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Lead, total | Water | E420 | 0.00343 | 0.00342 | 0.000100 | mg/L | 0.199% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Lithium, total | Water | E420 | 0.0035 | 0.0032 | 0.0020 | mg/L | 0.0003 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Magnesium, total | Water | E420 | 10.2 | 10.2 | 0.0100 | mg/L | 0.00783% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Manganese, total | Water | E420 | 0.175 | 0.171 | 0.00020 | mg/L | 1.90% | 20 |  | ü
QC-1097469-004 | Anonymous | Anonymous | DUP | 1097469 | Mercury, total | Water | E508 | 0.0000062 | 0.0000072 | 0.0000050 | mg/L | 0.0000010 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Molybdenum, total | Water | E420 | 0.000308 | 0.000202 | 0.000100 | mg/L | 0.000106 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Nickel, total | Water | E420 | 0.00414 | 0.00398 | 0.00100 | mg/L | 0.00016 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Phosphorus, total | Water | E420 | 0.425 | 0.367 | 0.100 | mg/L | 0.058 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Potassium, total | Water | E420 | 1.10 | 1.06 | 0.100 | mg/L | 3.65% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Rubidium, total | Water | E420 | 0.00538 | 0.00518 | 0.00040 | mg/L | 3.66% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Selenium, total | Water | E420 | 0.000237 | 0.000206 | 0.000100 | mg/L | 0.000032 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Silicon, total | Water | E420 | 6.34 | 5.86 | 0.20 | mg/L | 7.71% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Silver, total | Water | E420 | 0.000027 | <0.000020 | 0.000020 | mg/L | 0.000007 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Sodium, total | Water | E420 | 3.75 | 3.52 | 0.100 | mg/L | 6.41% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Strontium, total | Water | E420 | 0.0473 | 0.0457 | 0.00040 | mg/L | 3.60% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Sulfur, total | Water | E420 | 1.11 | 1.10 | 1.00 | mg/L | 0.01 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Tellurium, total | Water | E420 | <0.00040 | <0.00040 | 0.00040 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Thallium, total | Water | E420 | 0.000054 | 0.000028 | 0.000020 | mg/L | 0.000026 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Thorium, total | Water | E420 | 0.00024 | 0.00020 | 0.00020 | mg/L | 0.00003 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Tin, total | Water | E420 | <0.00020 | <0.00020 | 0.00020 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Titanium, total | Water | E420 | 0.0905 | 0.0798 | 0.00060 | mg/L | 12.6% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Tungsten, total | Water | E420 | <0.00020 | <0.00020 | 0.00020 | mg/L | 0 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Uranium, total | Water | E420 | 0.000432 | 0.000402 | 0.000020 | mg/L | 7.26% | 20 |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Vanadium, total | Water | E420 | 0.00575 | 0.00552 | 0.00100 | mg/L | 0.00023 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Zinc, total | Water | E420 | 0.0430 | 0.0402 | 0.0060 | mg/L | 0.0028 | Diff <2x LOR |  | ü
QC-1096905-004 | Anonymous | Anonymous | DUP | 1096905 | Zirconium, total | Water | E420 | 0.00054 | 0.00050 | 0.00040 | mg/L | 0.00004 | Diff <2x LOR |  | ü
DUPM | MPN duplicate results were outside default ALS Data Quality Objective, but within 95% confidence interval for MPN reference method. Sample results are reliable.
Evaluation Legend
ü | QC Lot met ALS Data Quality Objectives
û | QC Lot did not meet ALS Data Quality Objectives
Note on D9: Terminology: DUP = Duplicate MSD = Matrix Spike Duplicate LCSD = Lab Control Sample Duplicate
Note on M9: RPD is Relative Percent Difference (Difference /Mean expressed as a percent). Used as the default precision evaluation. Surrogate is reported as % Recovery

## Quality Control
Quality Control TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
QC Type | Analyte | QC Lot | ALS QC ID | Reference | Matrix | Method | Result | Target | Units | % | Limit | Units | Qual | Eval
Anions and Nutrients (Matrix: Water)
LCS | Phosphate, ortho-, dissolved (as P) | 1095570 | QC-1095570-002 |  | Water | E378-U | 0.0209 | 0.02 mg/L | mg/L | 104 | 80-120 | % |  | ü
MS | Phosphate, ortho-, dissolved (as P) | 1095570 | Keewatin Arena (KA-01) | TY2308199-001 | Water | E378-U | 0.0191 | 0.02 mg/L | mg/L | 95.6 | 70-130 | % |  | ü
LCS | Ammonia, total (as N) | 1096750 | QC-1096750-002 |  | Water | E298 | 0.217 | 0.2 mg/L | mg/L | 108 | 85-115 | % |  | ü
MS | Ammonia, total (as N) | 1096750 | Anonymous | Anonymous | Water | E298 | 0.110 | 0.1 mg/L | mg/L | 110 | 75-125 | % |  | ü
LCS | Phosphorus, total | 1096763 | QC-1096763-002 |  | Water | E372-U | 0.0168 | 0.0168 mg/L | mg/L | 100 | 80-120 | % |  | ü
MS | Phosphorus, total | 1096763 | Anonymous | Anonymous | Water | E372-U | 0.0366 | 0.035 mg/L | mg/L | 105 | 70-130 | % |  | ü
LCS | Kjeldahl nitrogen, total [TKN] | 1097558 | QC-1097558-002 |  | Water | E318 | 3.90 | 4 mg/L | mg/L | 97.6 | 75-125 | % |  | ü
MS | Kjeldahl nitrogen, total [TKN] | 1097558 | Anonymous | Anonymous | Water | E318 | 2.77 | 2.5 mg/L | mg/L | 111 | 70-130 | % |  | ü
LCS | Phosphorus, total dissolved | 1097559 | QC-1097559-002 |  | Water | E375-L | 0.0175 | 0.0168 mg/L | mg/L | 104 | 80-120 | % |  | ü
MS | Bromide | 1097260 | Anonymous | Anonymous | Water | E235.Br | 28.0 | 25 mg/L | mg/L | 112 | 75-125 | % |  | ü
MS | Chloride | 1097265 | Anonymous | Anonymous | Water | E235.Cl | 5360 | 5000 mg/L | mg/L | 107 | 75-125 | % |  | ü
MS | Fluoride | 1097261 | Anonymous | Anonymous | Water | E235.F | 51.1 | 50 mg/L | mg/L | 102 | 75-125 | % |  | ü
MS | Nitrate (as N) | 1097262 | Anonymous | Anonymous | Water | E235.NO3 | 132 | 125 mg/L | mg/L | 106 | 75-125 | % |  | ü
MS | Nitrite (as N) | 1097263 | Anonymous | Anonymous | Water | E235.NO2 | 23.3 | 25 mg/L | mg/L | 93.0 | 75-125 | % |  | ü
MS | Sulfate (as SO4) | 1097264 | Anonymous | Anonymous | Water | E235.SO4 | 5480 | 5000 mg/L | mg/L | 110 | 75-125 | % |  | ü
LCS | Bromide | 1097260 | QC-MRG7-1097260002 |  | Water | E235.Br | 0.51 | 0.5 mg/L | mg/L | 101 | 85-115 | % |  | ü
LCS | Chloride | 1097265 | QC-MRG7-1097260002 |  | Water | E235.Cl | 101 | 100 mg/L | mg/L | 101 | 90-110 | % |  | ü
LCS | Fluoride | 1097261 | QC-MRG7-1097260002 |  | Water | E235.F | 0.972 | 1 mg/L | mg/L | 97.2 | 90-110 | % |  | ü
LCS | Nitrate (as N) | 1097262 | QC-MRG7-1097260002 |  | Water | E235.NO3 | 2.50 | 2.5 mg/L | mg/L | 100 | 90-110 | % |  | ü
LCS | Nitrite (as N) | 1097263 | QC-MRG7-1097260002 |  | Water | E235.NO2 | 0.460 | 0.5 mg/L | mg/L | 92.0 | 90-110 | % |  | ü
LCS | Sulfate (as SO4) | 1097264 | QC-MRG7-1097260002 |  | Water | E235.SO4 | 102 | 100 mg/L | mg/L | 102 | 90-110 | % |  | ü
MB | Phosphate, ortho-, dissolved (as P) | 1095570 | QC-1095570-001 |  | Water | E378-U | <0.0010 |  | mg/L | - | 0.001 | mg/L |  | ü
MB | Ammonia, total (as N) | 1096750 | QC-1096750-001 |  | Water | E298 | <0.0050 |  | mg/L | - | 0.005 | mg/L |  | ü
MB | Phosphorus, total | 1096763 | QC-1096763-001 |  | Water | E372-U | <0.0020 |  | mg/L | - | 0.002 | mg/L |  | ü
MB | Kjeldahl nitrogen, total [TKN] | 1097558 | QC-1097558-001 |  | Water | E318 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Phosphorus, total dissolved | 1097559 | QC-1097559-001 |  | Water | E375-L | <0.0030 |  | mg/L | - | 0.003 | mg/L |  | ü
MB | Bromide | 1097260 | QC-MRG7-1097260001 |  | Water | E235.Br | <0.10 |  | mg/L | - | 0.1 | mg/L |  | ü
MB | Chloride | 1097265 | QC-MRG7-1097260001 |  | Water | E235.Cl | <0.50 |  | mg/L | - | 0.5 | mg/L |  | ü
MB | Fluoride | 1097261 | QC-MRG7-1097260001 |  | Water | E235.F | <0.020 |  | mg/L | - | 0.02 | mg/L |  | ü
MB | Nitrate (as N) | 1097262 | QC-MRG7-1097260001 |  | Water | E235.NO3 | <0.020 |  | mg/L | - | 0.02 | mg/L |  | ü
MB | Nitrite (as N) | 1097263 | QC-MRG7-1097260001 |  | Water | E235.NO2 | <0.010 |  | mg/L | - | 0.01 | mg/L |  | ü
MB | Sulfate (as SO4) | 1097264 | QC-MRG7-1097260001 |  | Water | E235.SO4 | <0.30 |  | mg/L | - | 0.3 | mg/L |  | ü
Microbiological Tests (Matrix: Water)
MB | Coliforms, total | 1096884 | QC-1096884-001 |  | Water | E010 | <1 |  | MPN/100mL | - | 1 | MPN/100mL |  | ü
MB | Coliforms, Escherichia coli [E. coli] | 1096884 | QC-1096884-001 |  | Water | E010 | <1 |  | MPN/100mL | - | 1 | MPN/100mL |  | ü
Total Metals (Matrix: Water)
LCS | Aluminum, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.102 | 0.1 mg/L | mg/L | 102 | 80-120 | % |  | ü
LCS | Antimony, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0530 | 0.05 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Arsenic, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0549 | 0.05 mg/L | mg/L | 110 | 80-120 | % |  | ü
LCS | Barium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0126 | 0.0125 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Beryllium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00546 | 0.005 mg/L | mg/L | 109 | 80-120 | % |  | ü
LCS | Bismuth, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0528 | 0.05 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Boron, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.050 | 0.05 mg/L | mg/L | 100 | 80-120 | % |  | ü
LCS | Cadmium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00509 | 0.005 mg/L | mg/L | 102 | 80-120 | % |  | ü
LCS | Calcium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 2.65 | 2.5 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Cesium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00268 | 0.0025 mg/L | mg/L | 107 | 80-120 | % |  | ü
LCS | Chromium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0130 | 0.0125 mg/L | mg/L | 104 | 80-120 | % |  | ü
LCS | Cobalt, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0132 | 0.0125 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Copper, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0127 | 0.0125 mg/L | mg/L | 102 | 80-120 | % |  | ü
LCS | Iron, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.051 | 0.05 mg/L | mg/L | 102 | 80-120 | % |  | ü
LCS | Lead, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0258 | 0.025 mg/L | mg/L | 103 | 80-120 | % |  | ü
LCS | Lithium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0141 | 0.0125 mg/L | mg/L | 113 | 80-120 | % |  | ü
LCS | Magnesium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 2.69 | 2.5 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Manganese, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0134 | 0.0125 mg/L | mg/L | 108 | 80-120 | % |  | ü
LCS | Molybdenum, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0134 | 0.0125 mg/L | mg/L | 107 | 80-120 | % |  | ü
LCS | Nickel, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0259 | 0.025 mg/L | mg/L | 103 | 80-120 | % |  | ü
LCS | Phosphorus, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.544 | 0.5 mg/L | mg/L | 109 | 80-120 | % |  | ü
LCS | Potassium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 2.74 | 2.5 mg/L | mg/L | 109 | 80-120 | % |  | ü
LCS | Rubidium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00523 | 0.005 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Selenium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0496 | 0.05 mg/L | mg/L | 99.3 | 80-120 | % |  | ü
LCS | Silicon, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.54 | 0.5 mg/L | mg/L | 107 | 80-120 | % |  | ü
LCS | Silver, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00501 | 0.005 mg/L | mg/L | 100 | 80-120 | % |  | ü
LCS | Sodium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 2.80 | 2.5 mg/L | mg/L | 112 | 80-120 | % |  | ü
LCS | Strontium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0131 | 0.0125 mg/L | mg/L | 105 | 80-120 | % |  | ü
LCS | Sulfur, total | 1096905 | QC-1096905-002 |  | Water | E420 | 2.66 | 2.5 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Tellurium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00512 | 0.005 mg/L | mg/L | 102 | 80-120 | % |  | ü
LCS | Thallium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0514 | 0.05 mg/L | mg/L | 103 | 80-120 | % |  | ü
LCS | Thorium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00503 | 0.005 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Tin, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0257 | 0.025 mg/L | mg/L | 103 | 80-120 | % |  | ü
LCS | Titanium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0125 | 0.0125 mg/L | mg/L | 99.7 | 80-120 | % |  | ü
LCS | Tungsten, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00503 | 0.005 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Uranium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.000255 | 0.0003 mg/L | mg/L | 102 | 80-120 | % |  | ü
LCS | Vanadium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0266 | 0.025 mg/L | mg/L | 106 | 80-120 | % |  | ü
LCS | Zinc, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.0253 | 0.025 mg/L | mg/L | 101 | 80-120 | % |  | ü
LCS | Zirconium, total | 1096905 | QC-1096905-002 |  | Water | E420 | 0.00524 | 0.005 mg/L | mg/L | 105 | 80-120 | % |  | ü
MS | Aluminum, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 0.2 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Antimony, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0235 | 0.02 mg/L | mg/L | 118 | 70-130 | % |  | ü
MS | Arsenic, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0198 | 0.02 mg/L | mg/L | 98.8 | 70-130 | % |  | ü
MS | Barium, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 0.02 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Beryllium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0423 | 0.04 mg/L | mg/L | 106 | 70-130 | % |  | ü
MS | Bismuth, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0101 | 0.01 mg/L | mg/L | 101 | 70-130 | % |  | ü
MS | Boron, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.114 | 0.1 mg/L | mg/L | 114 | 70-130 | % |  | ü
MS | Cadmium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.00411 | 0.004 mg/L | mg/L | 103 | 70-130 | % |  | ü
MS | Calcium, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 4 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Cesium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0105 | 0.01 mg/L | mg/L | 105 | 70-130 | % |  | ü
MS | Chromium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0372 | 0.04 mg/L | mg/L | 93.1 | 70-130 | % |  | ü
MS | Cobalt, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0195 | 0.02 mg/L | mg/L | 97.5 | 70-130 | % |  | ü
MS | Copper, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0186 | 0.02 mg/L | mg/L | 92.8 | 70-130 | % |  | ü
MS | Iron, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 2 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Lead, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0202 | 0.02 mg/L | mg/L | 101 | 70-130 | % |  | ü
MS | Lithium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.110 | 0.1 mg/L | mg/L | 110 | 70-130 | % |  | ü
MS | Magnesium, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 1 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Manganese, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 0.02 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Molybdenum, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0232 | 0.02 mg/L | mg/L | 116 | 70-130 | % |  | ü
MS | Nickel, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0376 | 0.04 mg/L | mg/L | 94.1 | 70-130 | % |  | ü
MS | Phosphorus, total | 1096905 | Anonymous | Anonymous | Water | E420 | 10.6 | 10 mg/L | mg/L | 106 | 70-130 | % |  | ü
MS | Potassium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 3.89 | 4 mg/L | mg/L | 97.2 | 70-130 | % |  | ü
MS | Rubidium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0189 | 0.02 mg/L | mg/L | 94.5 | 70-130 | % |  | ü
MS | Selenium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0399 | 0.04 mg/L | mg/L | 99.7 | 70-130 | % |  | ü
MS | Silicon, total | 1096905 | Anonymous | Anonymous | Water | E420 | 7.26 | 10 mg/L | mg/L | 72.6 | 70-130 | % |  | ü
MS | Silver, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.00418 | 0.004 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Sodium, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 2 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Strontium, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 0.02 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Sulfur, total | 1096905 | Anonymous | Anonymous | Water | E420 | 21.0 | 20 mg/L | mg/L | 105 | 70-130 | % |  | ü
MS | Tellurium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0445 | 0.04 mg/L | mg/L | 111 | 70-130 | % |  | ü
MS | Thallium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.00399 | 0.004 mg/L | mg/L | 99.7 | 70-130 | % |  | ü
MS | Thorium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0209 | 0.02 mg/L | mg/L | 104 | 70-130 | % |  | ü
MS | Tin, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0228 | 0.02 mg/L | mg/L | 114 | 70-130 | % |  | ü
MS | Titanium, total | 1096905 | Anonymous | Anonymous | Water | E420 | ND | 0.04 mg/L | mg/L | ND | 70-130 | % |  | ü
MS | Tungsten, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0222 | 0.02 mg/L | mg/L | 111 | 70-130 | % |  | ü
MS | Uranium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.00407 | 0.004 mg/L | mg/L | 102 | 70-130 | % |  | ü
MS | Vanadium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0998 | 0.1 mg/L | mg/L | 99.8 | 70-130 | % |  | ü
MS | Zinc, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.386 | 0.4 mg/L | mg/L | 96.5 | 70-130 | % |  | ü
MS | Zirconium, total | 1096905 | Anonymous | Anonymous | Water | E420 | 0.0453 | 0.04 mg/L | mg/L | 113 | 70-130 | % |  | ü
LCS | Mercury, total | 1097469 | QC-1097469-002 |  | Water | E508 | 0.000102 | 0.0001 mg/L | mg/L | 102 | 80-120 | % |  | ü
MS | Mercury, total | 1097469 | Anonymous | Anonymous | Water | E508 | 0.000103 | 0.0001 mg/L | mg/L | 103 | 70-130 | % |  | ü
MB | Aluminum, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.0030 |  | mg/L | - | 0.003 | mg/L |  | ü
MB | Antimony, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Arsenic, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Barium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Beryllium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000020 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Bismuth, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Boron, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.010 |  | mg/L | - | 0.01 | mg/L |  | ü
MB | Cadmium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.0000050 |  | mg/L | - | 0.000005 | mg/L |  | ü
MB | Calcium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Cesium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Chromium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Cobalt, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Copper, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Iron, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.010 |  | mg/L | - | 0.01 | mg/L |  | ü
MB | Lead, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Lithium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.0010 |  | mg/L | - | 0.001 | mg/L |  | ü
MB | Magnesium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.0050 |  | mg/L | - | 0.005 | mg/L |  | ü
MB | Manganese, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Molybdenum, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Nickel, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Phosphorus, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Potassium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Rubidium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Selenium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000050 |  | mg/L | - | 0.00005 | mg/L |  | ü
MB | Silicon, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.10 |  | mg/L | - | 0.1 | mg/L |  | ü
MB | Silver, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Sodium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.050 |  | mg/L | - | 0.05 | mg/L |  | ü
MB | Strontium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Sulfur, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.50 |  | mg/L | - | 0.5 | mg/L |  | ü
MB | Tellurium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Thallium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Thorium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Tin, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Titanium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00030 |  | mg/L | - | 0.0003 | mg/L |  | ü
MB | Tungsten, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00010 |  | mg/L | - | 0.0001 | mg/L |  | ü
MB | Uranium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.000010 |  | mg/L | - | 0.00001 | mg/L |  | ü
MB | Vanadium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00050 |  | mg/L | - | 0.0005 | mg/L |  | ü
MB | Zinc, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.0030 |  | mg/L | - | 0.003 | mg/L |  | ü
MB | Zirconium, total | 1096905 | QC-1096905-001 |  | Water | E420 | <0.00020 |  | mg/L | - | 0.0002 | mg/L |  | ü
MB | Mercury, total | 1097469 | QC-1097469-001 |  | Water | E508 | <0.0000050 |  | mg/L | - | 0.000005 | mg/L |  | ü
Evaluation Legend
ü | QC Lot met ALS Data Quality Objectives
Note on A9: Terminology: MB = Method Blank MS = Matrix Spike LCS = Laboratory Control Sample RM = Reference Material IRM = Internal Reference Material CVS = Calibration Verification Standard

## Methodology
Methodology TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
Method | ALS Test Description | Lab Location | Matrix | Method Reference | Methodology Description
Anions and Nutrients (Matrix: Water)
E235.Br | Bromide in Water by IC | ALS Environmental - Thunder Bay | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.Cl | Chloride in Water by IC | ALS Environmental - Thunder Bay | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.F | Fluoride in Water by IC | ALS Environmental - Thunder Bay | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.NO2 | Nitrite in Water by IC | ALS Environmental - Thunder Bay | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.NO3 | Nitrate in Water by IC | ALS Environmental - Thunder Bay | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.SO4 | Sulfate in Water by IC | ALS Environmental - Thunder Bay | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E298 | Ammonia by Fluorescence | ALS Environmental - Thunder Bay | Water | Method Fialab 100, 2018 | Ammonia in water is determined by automated continuous flow analysis with membrane diffusion and fluorescence detection, after reaction with OPA (ortho-phthalaldehyde). This method is approved under US EPA 40 CFR Part 136 (May 2021)
E318 | Total Kjeldahl Nitrogen by Fluorescence (Low Level) | ALS Environmental - Thunder Bay | Water | Method Fialab 100, 2018 | TKN in water is determined by automated continuous flow analysis with membrane diffusion and fluorescence detection, after reaction with OPA (ortho-phthalaldehyde). This method is approved under US EPA 40 CFR Part 136 (May 2021).
E372-U | Total Phosphorus by Colourimetry (0.002 mg/L) | ALS Environmental - Thunder Bay | Water | APHA 4500-P E (mod). | Total Phosphorus is determined colourimetrically using a discrete analyzer after heated persulfate digestion of the sample.
E375-L | Total Dissolved Phosphorus by Colourimetry (0.003 mg/L) | ALS Environmental - Thunder Bay | Water | APHA 4500-P E (mod). | Total Dissolved Phosphorus is determined colourimetrically using a discrete analyzer after filtration through a 0.45 micron filter followed by heated persulfate digestion of the sample.
E378-U | Dissolved Orthophosphate by Colourimetry (Ultra Trace Level 0.001 mg/L) | ALS Environmental - Thunder Bay | Water | APHA 4500-P F (mod) | Dissolved Orthophosphate is determined colourimetrically on a sample that has been lab or field filtered through a 0.45 micron membrane filter. Field filtration is recommended to ensure test results represent conditions at time of sampling.
EC298A | Un-ionized and Ionized Ammonia (Calculation) (Field Temperature and pH) | ALS Environmental - Thunder Bay | Water | CCME CWQG Ammonia | Un-ionized ammonia is calculated from test results for total ammonia, field temperature and pH, and is expressed in units of mg/L "as N".
Field Tests (Matrix: Water)
EF001 | Field pH,EC,Salinity,Cl2,ClO2,ORP,DO, Turbidity,T,T-P,o-PO4,NH3,Chloramine | ALS Environmental - Thunder Bay | Water | Field Measurement (Client Supplied) | Field pH,EC,Salinity,Cl2,ClO2,ORP,DO, Turbidity,T,T-P,o-PO4,NH3 or Chloramine measurements provided by client and recorded on ALS report may affect the validity of results.
Microbiological Tests (Matrix: Water)
E010 | Total Coliforms and E. coli (Enzyme Substrate) | ALS Environmental - Thunder Bay | Water | APHA 9223 (mod) | The enzyme substrate test simultaneously detects Total Coliforms and E. coli in a 100 mL sample after incubation at 35.0 ±0.5°C for either 18 or 24 hours (dependent on reagent used).
Physical Tests (Matrix: Water)
EC100A | Hardness (Calculated) from Total Ca/Mg | ALS Environmental - Thunder Bay | Water | APHA 2340B | “Hardness (as CaCO3), from total Ca/Mg” is calculated from the sum of total Calcium and Magnesium concentrations, expressed in CaCO3 equivalents. “Total Hardness” refers to the sum of Calcium and Magnesium Hardness. Hardness is normally or preferentially calculated from dissolved Calcium and Magnesium concentrations, because it is a property of water due to dissolved divalent cations. Hardness from total Ca/Mg is normally comparable to Dissolved Hardness in non-turbid waters.
Total Metals (Matrix: Water)
E420 | Total Metals in Water by CRC ICPMS | ALS Environmental - Thunder Bay | Water | EPA 200.2/6020B (mod) | Water samples are digested with nitric and hydrochloric acids, and analyzed by Collision/Reaction Cell ICPMS. Method Limitation (re: Sulfur): Sulfide and volatile sulfur species may not be recovered by this method.
E508 | Total Mercury in Water by CVAAS | ALS Environmental - Waterloo | Water | EPA 1631E (mod) | Water samples undergo a cold-oxidation using bromine monochloride prior to reduction with stannous chloride, and analyzed by CVAAS
Method References
The analytical methods used by ALS are developed using internationally recognized reference methods (where available), such as those published by US EPA, APHA Standard Methods, ASTM, ISO, Environment Canada, BC MOE, and Ontario MOE. Reference methods may incorporate modifications to improve performance

## Holding Time Exceedances
Hold Time Exceedance Details TY2308199
Project
Report To |  | Chris Herc, Grand Council Treaty #3
Date Received |  | 21-Aug-2023 10:40
Issue Date |  | 28-Aug-2023 12:25
Amendment |  | 0
[6 empty] | Preparation |  |  |  |  | Analysis
ALS Method Description | ALS ID | Client Sample ID | Matrix | Method | Sampling Date | Preparation Date | Recommended Holding Time | Actual Holding Times | Eval | Qualifier | Analysis Date | Recommended Holding Time | Actual Holding Times | Eval | Qualifier
Anions and Nutrients (Matrix: Water)
Total Dissolved Phosphorus by Colourimetry (0.003 mg/L) | TY2308199-001 | Keewatin Arena (KA-01) | Water | E375-L | 18-Aug-2023 | 23-Aug-2023 11:00 | 3 days | 5 days | û | EHTL | 24-Aug-2023 13:31 | 3 days | 6 days | ü
Microbiological Tests (Matrix: Water)
Total Coliforms and E. coli (Enzyme Substrate) | TY2308199-001 | Keewatin Arena (KA-01) | Water | E010 | 18-Aug-2023 | [5 empty] | 22-Aug-2023 11:50 | 48 hrs | 97 hrs | û | EHTR
Legend & Qualifier Definitions
EHTR: Exceeded ALS recommended hold time prior to sample receipt.
EHTL: Exceeded ALS recommended hold time prior to analysis. Sample was received less than 24 hours prior to expiry.
Evaluation Legend
ü |  | = within holding time
û |  | = holding time exceedance
Analysis Holding Time Compliance
This report summarizes extraction / preparation and analysis times and compares each with ALS recommended holding times, which are selected to meet known provincial and/or federal requirements.
In the absence of regulatory hold times, ALS establishes recommendations based on guidelines published by organizations such as CCME, US EPA, APHA Standard Methods, ASTM, or Environment Canada (where available).
Dates and holding times reported above represent the first dates of extraction or analysis. If subsequent tests or dilutions exceeded holding times, qualifiers are added.
If samples are identified above as having been analyzed or extracted outside of recommended holding times, measurement uncertainties may be increased, and this should be taken into consideration when interpreting results.
Where actual sampling date is not provided on chain of custody, the date of receipt with the time at 00:00 is used for calculation purposes.
Where only the sample date without time is provided on chain of custody, the sampling date at 00:00 is used for calculation purposes.

## Detection Limits
Detection Limits TY2308199
Project
Report To | Chris Herc, Grand Council Treaty #3
Date Received | 21-Aug-2023 10:40
Issue Date | 28-Aug-2023 12:25
Amendment | 0
Client Sample ID |  | Keewatin Arena (KA-01)
Date Sampled |  | 18-Aug-2023
Time Sampled |  | 10:36
ALS Sample ID |  | TY2308199-001
Analyte | Units | Sub-Matrix: Water
Field Tests (Matrix: Water)
Temperature, field | °C | 0.10
pH, field | pH units | 0.10
Physical Tests (Matrix: Water)
Hardness (as CaCO3), from total Ca/Mg | mg/L | 0.50
Anions and Nutrients (Matrix: Water)
Ammonia, total (as N) | mg/L | 0.0050
Ammonia, un-ionized (as N), field | mg/L | 0.0010
Bromide | mg/L | 0.10
Chloride | mg/L | 0.50
Fluoride | mg/L | 0.020
Kjeldahl nitrogen, total [TKN] | mg/L | 0.050
Nitrate (as N) | mg/L | 0.020
Nitrite (as N) | mg/L | 0.010
Phosphate, ortho-, dissolved (as P) | mg/L | 0.0010
Phosphorus, total | mg/L | 0.0020
Phosphorus, total dissolved | mg/L | 0.0030
Sulfate (as SO4) | mg/L | 0.30
Microbiological Tests (Matrix: Water)
Coliforms, total | MPN/100mL | 1
Coliforms, Escherichia coli [E. coli] | MPN/100mL | 1
Total Metals (Matrix: Water)
Aluminum, total | mg/L | 0.0030
Antimony, total | mg/L | 0.00010
Arsenic, total | mg/L | 0.00010
Barium, total | mg/L | 0.00010
Beryllium, total | mg/L | 0.000020
Bismuth, total | mg/L | 0.000050
Boron, total | mg/L | 0.010
Cadmium, total | mg/L | 0.0000050
Calcium, total | mg/L | 0.050
Cesium, total | mg/L | 0.000010
Chromium, total | mg/L | 0.00050
Cobalt, total | mg/L | 0.00010
Copper, total | mg/L | 0.00050
Iron, total | mg/L | 0.010
Lead, total | mg/L | 0.000050
Lithium, total | mg/L | 0.0010
Magnesium, total | mg/L | 0.0050
Manganese, total | mg/L | 0.00010
Mercury, total | mg/L | 0.0000050
Molybdenum, total | mg/L | 0.000050
Nickel, total | mg/L | 0.00050
Phosphorus, total | mg/L | 0.050
Potassium, total | mg/L | 0.050
Rubidium, total | mg/L | 0.00020
Selenium, total | mg/L | 0.000050
Silicon, total | mg/L | 0.10
Silver, total | mg/L | 0.000010
Sodium, total | mg/L | 0.050
Strontium, total | mg/L | 0.00020
Sulfur, total | mg/L | 0.50
Tellurium, total | mg/L | 0.00020
Thallium, total | mg/L | 0.000010
Thorium, total | mg/L | 0.00010
Tin, total | mg/L | 0.00010
Titanium, total | mg/L | 0.00030
Tungsten, total | mg/L | 0.00010
Uranium, total | mg/L | 0.000010
Vanadium, total | mg/L | 0.00050
Zinc, total | mg/L | 0.0030
Zirconium, total | mg/L | 0.00020

## ConfiguredGuideline (hidden)
CATMATRIXIDCOMPOUNDIDUNITID | LOWERLIMIT | UPPERLIMIT | LIMITDISPLAY | FAILEVALUATIONSWHENEQUALTODEFINEDLIMIT | GUIDELINECATEGORYLIMITTYPE(0:QUANTI,1:QUALI) | GUIDELINECATEGORYLIMITPREDEFINEDRESULTELEMENT

## GuidelineResultsEvaluations (hidden)
MATRIXGUIDELINECATEGORYCOMPIDMETHODANALYTELABSAMPLEIDRESULT | PASSEDGUIDELINEEVALUATION | EVALUATIONSTATUS

## NLists (hidden)
CATEGORYINDEX | CATEGORYNAME | CATEGORYKEY | SELECTINDEXKEY | SELECTCATEGORYKEY

## EddPostProcessingSheet (hidden)
AutoFitColumns | NLists
addImage | Cover Page | 1 | 1 | C:\Angel\BuildTest\Reports\images\als_enviromental_logo_CA.png
addCombo | Criteria Summary | CategoryCombo | 280 | 117 | NLists!$B$2:$B$1 | NLists!D2 | 560 | 14
addConditionalFormatting | Criteria Summary | R18C10:R99999C10 | IF(ISNUMBER(SEARCH(""QUALITATIVE"",$B18)),IF(ISNUMBER(SEARCH("" ¦"" & J18 & ""¦ "",$B18)),FALSE,TRUE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(VLOOKUP(SUBSTITUTE(CONCATENATE(NLists!$E$2,$C18,$A18,J$14,J18),$I18,""""),GuidelineResultsEvaluations!$A:$B,2,FALSE)=""false"",TRUE,FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(VALUE($G18)=1,IF(ISNUMBER(VALUE(J18)),IF(AND(ISNUMBER(VALUE($E18)),ISNUMBER(VALUE($F18))),OR(VALUE(J18)<=VALUE($E18),VALUE(J18)>=VALUE($F18)),IF(ISNUMBER(VALUE($E18)),VALUE(J18)<=VALUE($E18),IF(ISNUMBER(VALUE($F18)),VALUE(J18)>=VALUE($F18),FALSE))),FALSE),IF(ISNUMBER(VALUE(J18)),IF(AND(ISNUMBER(VALUE($E18)),ISNUMBER(VALUE($F18))),OR(VALUE(J18)<VALUE($E18),VALUE(J18)>VALUE($F18)),IF(ISNUMBER(VALUE($E18)),VALUE(J18)<VALUE($E18),IF(ISNUMBER(VALUE($F18)),VALUE(J18)>VALUE($F18),FALSE))),FALSE)) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B18)),IF(AND(SEARCH(""<"",J18)=1,ISNUMBER(VALUE($F18))),VALUE(SUBSTITUTE(J18,""<"","""",1)) > VALUE($F18),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B18)),IF(AND(SEARCH(""<"",J18)=1,ISNUMBER(VALUE($E18))),VALUE(SUBSTITUTE(J18,""<"","""",1)) <= VALUE($E18),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B18)),IF(AND(SEARCH(""<"",J18)=1,ISNUMBER(VALUE($E18))),VALUE(SUBSTITUTE(J18,""<"","""",1)) <= VALUE($E18),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" }
addCombo | MinMax | CategoryCombo | 280 | 117 | NLists!$B$2:$B$1 | NLists!D2 | 560 | 14
addConditionalFormatting | MinMax | R14C10:R99999C13 | IF(IFERROR(SEARCH(""Client Sample ID"",J$11)=1,FALSE),TRUE,FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"" } | IF(VALUE($G14)=1,IF(ISNUMBER(VALUE(J14)),IF(AND(ISNUMBER(VALUE($E14)),ISNUMBER(VALUE($F14))),OR(VALUE(J14)<=VALUE($E14),VALUE(J14)>=VALUE($F14)),IF(ISNUMBER(VALUE($E14)),VALUE(J14)<=VALUE($E14),IF(ISNUMBER(VALUE($F14)),VALUE(J14)>=VALUE($F14),FALSE))),FALSE),IF(ISNUMBER(VALUE(J14)),IF(AND(ISNUMBER(VALUE($E14)),ISNUMBER(VALUE($F14))),OR(VALUE(J14)<VALUE($E14),VALUE(J14)>VALUE($F14)),IF(ISNUMBER(VALUE($E14)),VALUE(J14)<VALUE($E14),IF(ISNUMBER(VALUE($F14)),VALUE(J14)>VALUE($F14),FALSE))),FALSE)) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B14)),IF(AND(SEARCH(""<"",J14)=1,ISNUMBER(VALUE($F14))),VALUE(SUBSTITUTE(J14,""<"","""",1)) > VALUE($F14),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B14)),IF(AND(SEARCH(""<"",J14)=1,ISNUMBER(VALUE($E14))),VALUE(SUBSTITUTE(J14,""<"","""",1)) <= VALUE($E14),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" } | IF(ISNUMBER(SEARCH(""QUANTITATIVE"",$B14)),IF(AND(SEARCH(""<"",J14)=1,ISNUMBER(VALUE($E14))),VALUE(SUBSTITUTE(J14,""<"","""",1)) <= VALUE($E14),FALSE),FALSE) | { FontBold:false, FontColor:"", BackgroundColor:"#ff0000" }
addWorkbookPassword | 77$@!*(&%$)9njdjudeyg
addAutoFilter | Detailed Report | R9C1:R76C18
addAutoFilter | Duplicates | R9C1:R68C18
addAutoFilter | Quality Control | R9C1:R169C15